## F1
F1 | F1 | F1 | F1 | F1
1 - CB opened | 1 - CB opened | 1 - CB opened | 1 - CB opened | 1 - CB opened
2 - CB closed | 2 - CB closed | 2 - CB closed | 2 - CB closed | 2 - CB closed
3 - I> | 3 - I> | 3 - I> | 3 - I> | 3 - I>
4 - I>> | 4 - I>> | 4 - I>> | 4 - I>> | 4 - I>>
5 - Ies | 5 - Ies | 5 - Ies | 5 - Ies | 5 - Ies
6 - CB not ready | 6 - CB not ready | 6 - CB not ready | 6 - CB not ready | 6 - CB not ready
7 - | 7 - | 7 - | 7 - | 7 -
8 - | 8 - | 8 - | 8 - | 8 -
9 - | 9 - | 9 - | 9 - | 9 -
10 - TCS alarm | 10 - TCS alarm | 10 - TCS alarm | 10 - TCS alarm | 10 - TCS alarm
11 - I2t alarm | 11 - I2t alarm | 11 - I2t alarm | 11 - I2t alarm | 11 - I2t alarm
12 - Lockout active | 12 - Lockout active | 12 - Lockout active | 12 - Lockout active | 12 - Lockout active
F1 | F1 | F1 | F1 | F1
1 - CB opened | 1 - CB opened | 1 - CB opened | 1 - CB opened | 1 - CB opened
2 - CB closed | 2 - CB closed | 2 - CB closed | 2 - CB closed | 2 - CB closed
3 - I> | 3 - I> | 3 - I> | 3 - I> | 3 - I>
4 - I>> | 4 - I>> | 4 - I>> | 4 - I>> | 4 - I>>
5 - Ies | 5 - Ies | 5 - Ies | 5 - Ies | 5 - Ies
6 - CB not ready | 6 - CB not ready | 6 - CB not ready | 6 - CB not ready | 6 - CB not ready
7 - | 7 - | 7 - | 7 - | 7 -
8 - | 8 - | 8 - | 8 - | 8 -
9 - | 9 - | 9 - | 9 - | 9 -
10 - TCS alarm | 10 - TCS alarm | 10 - TCS alarm | 10 - TCS alarm | 10 - TCS alarm
11 - I2t alarm | 11 - I2t alarm | 11 - I2t alarm | 11 - I2t alarm | 11 - I2t alarm
12 - Lockout active | 12 - Lockout active | 12 - Lockout active | 12 - Lockout active | 12 - Lockout active

## F3
F3 | F3 | F3 | F3 | F3
1 - CB opened | 1 - CB opened | 1 - CB opened | 1 - CB opened | 1 - CB opened
2 - CB closed | 2 - CB closed | 2 - CB closed | 2 - CB closed | 2 - CB closed
3 - I> | 3 - I> | 3 - I> | 3 - I> | 3 - I>
4 - I>> | 4 - I>> | 4 - I>> | 4 - I>> | 4 - I>>
5 - Ies | 5 - Ies | 5 - Ies | 5 - Ies | 5 - Ies
6 - CB not ready | 6 - CB not ready | 6 - CB not ready | 6 - CB not ready | 6 - CB not ready
7 - AR Definite trip | 7 - AR Definite trip | 7 - AR Definite trip | 7 - AR Definite trip | 7 - AR Definite trip
8 - | 8 - | 8 - | 8 - | 8 -
9 - | 9 - | 9 - | 9 - | 9 -
10 - TSC alarm | 10 - TSC alarm | 10 - TSC alarm | 10 - TSC alarm | 10 - TSC alarm
11 - I2t alarm | 11 - I2t alarm | 11 - I2t alarm | 11 - I2t alarm | 11 - I2t alarm
12 - Lockout active | 12 - Lockout active | 12 - Lockout active | 12 - Lockout active | 12 - Lockout active
F3 | F3 | F3 | F3 | F3
1 - CB opened | 1 - CB opened | 1 - CB opened | 1 - CB opened | 1 - CB opened
2 - CB closed | 2 - CB closed | 2 - CB closed | 2 - CB closed | 2 - CB closed
3 - I> | 3 - I> | 3 - I> | 3 - I> | 3 - I>
4 - I>> | 4 - I>> | 4 - I>> | 4 - I>> | 4 - I>>
5 - Ies | 5 - Ies | 5 - Ies | 5 - Ies | 5 - Ies
6 - CB not ready | 6 - CB not ready | 6 - CB not ready | 6 - CB not ready | 6 - CB not ready
7 - AR Definite trip | 7 - AR Definite trip | 7 - AR Definite trip | 7 - AR Definite trip | 7 - AR Definite trip
8 - | 8 - | 8 - | 8 - | 8 -
9 - | 9 - | 9 - | 9 - | 9 -
10 - TSC alarm | 10 - TSC alarm | 10 - TSC alarm | 10 - TSC alarm | 10 - TSC alarm
11 - I2t alarm | 11 - I2t alarm | 11 - I2t alarm | 11 - I2t alarm | 11 - I2t alarm
12 - Lockout active | 12 - Lockout active | 12 - Lockout active | 12 - Lockout active | 12 - Lockout active

## B2
B2 | B2 | B2 | B2 | B2
1 - DC opened | 1 - DC opened | 1 - DC opened | 1 - DC opened | 1 - DC opened
2 - DC closed | 2 - DC closed | 2 - DC closed | 2 - DC closed | 2 - DC closed
3 - U> | 3 - U> | 3 - U> | 3 - U> | 3 - U>
4 - U>> | 4 - U>> | 4 - U>> | 4 - U>> | 4 - U>>
5 - U< | 5 - U< | 5 - U< | 5 - U< | 5 - U<
6 - Ues | 6 - Ues | 6 - Ues | 6 - Ues | 6 - Ues
7 - f> | 7 - f> | 7 - f> | 7 - f> | 7 - f>
8 - f< | 8 - f< | 8 - f< | 8 - f< | 8 - f<
9 - | 9 - | 9 - | 9 - | 9 -
10 - | 10 - | 10 - | 10 - | 10 -
11 - | 11 - | 11 - | 11 - | 11 -
12 - Lockout active | 12 - Lockout active | 12 - Lockout active | 12 - Lockout active | 12 - Lockout active
B2 | B2 | B2 | B2 | B2
1 - DC opened | 1 - DC opened | 1 - DC opened | 1 - DC opened | 1 - DC opened
2 - DC closed | 2 - DC closed | 2 - DC closed | 2 - DC closed | 2 - DC closed
3 - U> | 3 - U> | 3 - U> | 3 - U> | 3 - U>
4 - U>> | 4 - U>> | 4 - U>> | 4 - U>> | 4 - U>>
5 - U< | 5 - U< | 5 - U< | 5 - U< | 5 - U<
6 - Ues | 6 - Ues | 6 - Ues | 6 - Ues | 6 - Ues
7 - f> | 7 - f> | 7 - f> | 7 - f> | 7 - f>
8 - f< | 8 - f< | 8 - f< | 8 - f< | 8 - f<
9 - | 9 - | 9 - | 9 - | 9 -
10 - | 10 - | 10 - | 10 - | 10 -
11 - | 11 - | 11 - | 11 - | 11 -
12 - Lockout active | 12 - Lockout active | 12 - Lockout active | 12 - Lockout active | 12 - Lockout active

## B3
B3 | B3 | B3 | B3 | B3
1 - DC opened | 1 - DC opened | 1 - DC opened | 1 - DC opened | 1 - DC opened
2 - DC closed | 2 - DC closed | 2 - DC closed | 2 - DC closed | 2 - DC closed
3 - U> | 3 - U> | 3 - U> | 3 - U> | 3 - U>
4 - U>> | 4 - U>> | 4 - U>> | 4 - U>> | 4 - U>>
5 - U< | 5 - U< | 5 - U< | 5 - U< | 5 - U<
6 - Ues | 6 - Ues | 6 - Ues | 6 - Ues | 6 - Ues
7 - f> | 7 - f> | 7 - f> | 7 - f> | 7 - f>
8 - f< | 8 - f< | 8 - f< | 8 - f< | 8 - f<
9 - df/dt | 9 - df/dt | 9 - df/dt | 9 - df/dt | 9 - df/dt
10 - | 10 - | 10 - | 10 - | 10 -
11 - | 11 - | 11 - | 11 - | 11 -
12 - Lockout active | 12 - Lockout active | 12 - Lockout active | 12 - Lockout active | 12 - Lockout active
B3 | B3 | B3 | B3 | B3
1 - DC opened | 1 - DC opened | 1 - DC opened | 1 - DC opened | 1 - DC opened
2 - DC closed | 2 - DC closed | 2 - DC closed | 2 - DC closed | 2 - DC closed
3 - U> | 3 - U> | 3 - U> | 3 - U> | 3 - U>
4 - U>> | 4 - U>> | 4 - U>> | 4 - U>> | 4 - U>>
5 - U< | 5 - U< | 5 - U< | 5 - U< | 5 - U<
6 - Ues | 6 - Ues | 6 - Ues | 6 - Ues | 6 - Ues
7 - f> | 7 - f> | 7 - f> | 7 - f> | 7 - f>
8 - f< | 8 - f< | 8 - f< | 8 - f< | 8 - f<
9 - df/dt | 9 - df/dt | 9 - df/dt | 9 - df/dt | 9 - df/dt
10 - | 10 - | 10 - | 10 - | 10 -
11 - | 11 - | 11 - | 11 - | 11 -
12 - Lockout active | 12 - Lockout active | 12 - Lockout active | 12 - Lockout active | 12 - Lockout active

## T1
T1 | T1 | T1 | T1 | T1
1 - CB Opened | 1 - CB Opened | 1 - CB Opened | 1 - CB Opened | 1 - CB Opened
2 - CB closed | 2 - CB closed | 2 - CB closed | 2 - CB closed | 2 - CB closed
3 - I> | 3 - I> | 3 - I> | 3 - I> | 3 - I>
4 - I>> | 4 - I>> | 4 - I>> | 4 - I>> | 4 - I>>
5 - Ies | 5 - Ies | 5 - Ies | 5 - Ies | 5 - Ies
6 - | 6 - | 6 - | 6 - | 6 -
7 - Temp. alarm | 7 - Temp. alarm | 7 - Temp. alarm | 7 - Temp. alarm | 7 - Temp. alarm
8 - Temp. trip | 8 - Temp. trip | 8 - Temp. trip | 8 - Temp. trip | 8 - Temp. trip
9 - External trip | 9 - External trip | 9 - External trip | 9 - External trip | 9 - External trip
10 - I2t alarm | 10 - I2t alarm | 10 - I2t alarm | 10 - I2t alarm | 10 - I2t alarm
11 - TCS | 11 - TCS | 11 - TCS | 11 - TCS | 11 - TCS
12 - Lockout active | 12 - Lockout active | 12 - Lockout active | 12 - Lockout active | 12 - Lockout active
T1 | T1 | T1 | T1 | T1
1 - CB Opened | 1 - CB Opened | 1 - CB Opened | 1 - CB Opened | 1 - CB Opened
2 - CB closed | 2 - CB closed | 2 - CB closed | 2 - CB closed | 2 - CB closed
3 - I> | 3 - I> | 3 - I> | 3 - I> | 3 - I>
4 - I>> | 4 - I>> | 4 - I>> | 4 - I>> | 4 - I>>
5 - Ies | 5 - Ies | 5 - Ies | 5 - Ies | 5 - Ies
6 - | 6 - | 6 - | 6 - | 6 -
7 - Temp. alarm | 7 - Temp. alarm | 7 - Temp. alarm | 7 - Temp. alarm | 7 - Temp. alarm
8 - Temp. trip | 8 - Temp. trip | 8 - Temp. trip | 8 - Temp. trip | 8 - Temp. trip
9 - External trip | 9 - External trip | 9 - External trip | 9 - External trip | 9 - External trip
10 - I2t alarm | 10 - I2t alarm | 10 - I2t alarm | 10 - I2t alarm | 10 - I2t alarm
11 - TCS | 11 - TCS | 11 - TCS | 11 - TCS | 11 - TCS
12 - Lockout active | 12 - Lockout active | 12 - Lockout active | 12 - Lockout active | 12 - Lockout active

## T3
T3 | T3 | T3 | T3 | T3
1 - CB Opened | 1 - CB Opened | 1 - CB Opened | 1 - CB Opened | 1 - CB Opened
2 - CB closed | 2 - CB closed | 2 - CB closed | 2 - CB closed | 2 - CB closed
3 - I> | 3 - I> | 3 - I> | 3 - I> | 3 - I>
4 - I>> | 4 - I>> | 4 - I>> | 4 - I>> | 4 - I>>
5 - Ies | 5 - Ies | 5 - Ies | 5 - Ies | 5 - Ies
6 - Δ Ie, IeRES | 6 - Δ Ie, IeRES | 6 - Δ Ie, IeRES | 6 - Δ Ie, IeRES | 6 - Δ Ie, IeRES
7 - Temp. alarm | 7 - Temp. alarm | 7 - Temp. alarm | 7 - Temp. alarm | 7 - Temp. alarm
8 - Temp. trip | 8 - Temp. trip | 8 - Temp. trip | 8 - Temp. trip | 8 - Temp. trip
9 - External trip | 9 - External trip | 9 - External trip | 9 - External trip | 9 - External trip
10 - I2t alarm | 10 - I2t alarm | 10 - I2t alarm | 10 - I2t alarm | 10 - I2t alarm
11 - TCS | 11 - TCS | 11 - TCS | 11 - TCS | 11 - TCS
12 - Lockout active | 12 - Lockout active | 12 - Lockout active | 12 - Lockout active | 12 - Lockout active
T3 | T3 | T3 | T3 | T3
1 - CB Opened | 1 - CB Opened | 1 - CB Opened | 1 - CB Opened | 1 - CB Opened
2 - CB closed | 2 - CB closed | 2 - CB closed | 2 - CB closed | 2 - CB closed
3 - I> | 3 - I> | 3 - I> | 3 - I> | 3 - I>
4 - I>> | 4 - I>> | 4 - I>> | 4 - I>> | 4 - I>>
5 - Ies | 5 - Ies | 5 - Ies | 5 - Ies | 5 - Ies
6 - Δ Ie, IeRES | 6 - Δ Ie, IeRES | 6 - Δ Ie, IeRES | 6 - Δ Ie, IeRES | 6 - Δ Ie, IeRES
7 - Temp. alarm | 7 - Temp. alarm | 7 - Temp. alarm | 7 - Temp. alarm | 7 - Temp. alarm
8 - Temp. trip | 8 - Temp. trip | 8 - Temp. trip | 8 - Temp. trip | 8 - Temp. trip
9 - External trip | 9 - External trip | 9 - External trip | 9 - External trip | 9 - External trip
10 - I2t alarm | 10 - I2t alarm | 10 - I2t alarm | 10 - I2t alarm | 10 - I2t alarm
11 - TCS | 11 - TCS | 11 - TCS | 11 - TCS | 11 - TCS
12 - Lockout active | 12 - Lockout active | 12 - Lockout active | 12 - Lockout active | 12 - Lockout active

## M1
M1 | M1 | M1 | M1 | M1
1 - Running | 1 - Running | 1 - Running | 1 - Running | 1 - Running
2 - I>, I>> | 2 - I>, I>> | 2 - I>, I>> | 2 - I>, I>> | 2 - I>, I>>
3 - Ies | 3 - Ies | 3 - Ies | 3 - Ies | 3 - Ies
4 - I2> | 4 - I2> | 4 - I2> | 4 - I2> | 4 - I2>
5 - | 5 - | 5 - | 5 - | 5 -
6 - 66 Inhibit | 6 - 66 Inhibit | 6 - 66 Inhibit | 6 - 66 Inhibit | 6 - 66 Inhibit
7 - 48 Exc. Start | 7 - 48 Exc. Start | 7 - 48 Exc. Start | 7 - 48 Exc. Start | 7 - 48 Exc. Start
8 - 51 Lock. Rotor | 8 - 51 Lock. Rotor | 8 - 51 Lock. Rotor | 8 - 51 Lock. Rotor | 8 - 51 Lock. Rotor
9 - 14 Stall | 9 - 14 Stall | 9 - 14 Stall | 9 - 14 Stall | 9 - 14 Stall
10 - Temp. alarm | 10 - Temp. alarm | 10 - Temp. alarm | 10 - Temp. alarm | 10 - Temp. alarm
11 - Temp. trip | 11 - Temp. trip | 11 - Temp. trip | 11 - Temp. trip | 11 - Temp. trip
12 - Lockout active | 12 - Lockout active | 12 - Lockout active | 12 - Lockout active | 12 - Lockout active
M1 | M1 | M1 | M1 | M1
1 - Running | 1 - Running | 1 - Running | 1 - Running | 1 - Running
2 - I>, I>> | 2 - I>, I>> | 2 - I>, I>> | 2 - I>, I>> | 2 - I>, I>>
3 - Ies | 3 - Ies | 3 - Ies | 3 - Ies | 3 - Ies
4 - I2> | 4 - I2> | 4 - I2> | 4 - I2> | 4 - I2>
5 - | 5 - | 5 - | 5 - | 5 -
6 - 66 Inhibit | 6 - 66 Inhibit | 6 - 66 Inhibit | 6 - 66 Inhibit | 6 - 66 Inhibit
7 - 48 Exc. Start | 7 - 48 Exc. Start | 7 - 48 Exc. Start | 7 - 48 Exc. Start | 7 - 48 Exc. Start
8 - 51 Lock. Rotor | 8 - 51 Lock. Rotor | 8 - 51 Lock. Rotor | 8 - 51 Lock. Rotor | 8 - 51 Lock. Rotor
9 - 14 Stall | 9 - 14 Stall | 9 - 14 Stall | 9 - 14 Stall | 9 - 14 Stall
10 - Temp. alarm | 10 - Temp. alarm | 10 - Temp. alarm | 10 - Temp. alarm | 10 - Temp. alarm
11 - Temp. trip | 11 - Temp. trip | 11 - Temp. trip | 11 - Temp. trip | 11 - Temp. trip
12 - Lockout active | 12 - Lockout active | 12 - Lockout active | 12 - Lockout active | 12 - Lockout active

## M3
M3 | M3 | M3 | M3 | M3
1 - Running | 1 - Running | 1 - Running | 1 - Running | 1 - Running
2 - I>, I>> | 2 - I>, I>> | 2 - I>, I>> | 2 - I>, I>> | 2 - I>, I>>
3 - Ies | 3 - Ies | 3 - Ies | 3 - Ies | 3 - Ies
4 - I2> | 4 - I2> | 4 - I2> | 4 - I2> | 4 - I2>
5 - Δ Ie, IeRES | 5 - Δ Ie, IeRES | 5 - Δ Ie, IeRES | 5 - Δ Ie, IeRES | 5 - Δ Ie, IeRES
6 - 66 Inhibit | 6 - 66 Inhibit | 6 - 66 Inhibit | 6 - 66 Inhibit | 6 - 66 Inhibit
7 - 48 Exc. Start | 7 - 48 Exc. Start | 7 - 48 Exc. Start | 7 - 48 Exc. Start | 7 - 48 Exc. Start
8 - 51LR | 8 - 51LR | 8 - 51LR | 8 - 51LR | 8 - 51LR
9 - 14 Stall | 9 - 14 Stall | 9 - 14 Stall | 9 - 14 Stall | 9 - 14 Stall
10 - Temp. alarm | 10 - Temp. alarm | 10 - Temp. alarm | 10 - Temp. alarm | 10 - Temp. alarm
11 - Temp. trip | 11 - Temp. trip | 11 - Temp. trip | 11 - Temp. trip | 11 - Temp. trip
12 - Lockout active | 12 - Lockout active | 12 - Lockout active | 12 - Lockout active | 12 - Lockout active
M3 | M3 | M3 | M3 | M3
1 - Running | 1 - Running | 1 - Running | 1 - Running | 1 - Running
2 - I>, I>> | 2 - I>, I>> | 2 - I>, I>> | 2 - I>, I>> | 2 - I>, I>>
3 - Ies | 3 - Ies | 3 - Ies | 3 - Ies | 3 - Ies
4 - I2> | 4 - I2> | 4 - I2> | 4 - I2> | 4 - I2>
5 - Δ Ie, Ieres | 5 - Δ Ie, Ieres | 5 - Δ Ie, Ieres | 5 - Δ Ie, Ieres | 5 - Δ Ie, Ieres
6 - 66 Inhibit | 6 - 66 Inhibit | 6 - 66 Inhibit | 6 - 66 Inhibit | 6 - 66 Inhibit
7 - 48 Exc. Start | 7 - 48 Exc. Start | 7 - 48 Exc. Start | 7 - 48 Exc. Start | 7 - 48 Exc. Start
8 - 51LR | 8 - 51LR | 8 - 51LR | 8 - 51LR | 8 - 51LR
9 - 14 Stall | 9 - 14 Stall | 9 - 14 Stall | 9 - 14 Stall | 9 - 14 Stall
10 - Temp. alarm | 10 - Temp. alarm | 10 - Temp. alarm | 10 - Temp. alarm | 10 - Temp. alarm
11 - Temp. trip | 11 - Temp. trip | 11 - Temp. trip | 11 - Temp. trip | 11 - Temp. trip
12 - Lockout active | 12 - Lockout active | 12 - Lockout active | 12 - Lockout active | 12 - Lockout active

## FPC400 Function keys
Voltage | Confirm alarms | Confirm alarms | Confirm alarms | Confirm alarms
Current | P.u./ Prim./ Sec. | P.u./ Prim./ Sec. | P.u./ Prim./ Sec. | P.u./ Prim./ Sec.
Power | Frequency | Frequency | Frequency | Frequency
Frequency | Overview | Overview | Overview | Overview
LED test | LED test | LED test | LED test | LED test
Show DI/DO | Record disturbance | Record disturbance | Record disturbance | Record disturbance
Confirm alarms | Confirm alarms | Confirm alarms | Confirm alarms | Confirm alarms
P.u./ Prim./ Sec. | P.u./ Prim./ Sec. | P.u./ Prim./ Sec. | P.u./ Prim./ Sec. | P.u./ Prim./ Sec.
Frequency | Frequency | Frequency | Frequency | Frequency
Overview | Overview | Overview | Overview | Overview
LED test | LED test | LED test | LED test | LED test
Record disturbance | Record disturbance | Record disturbance | Record disturbance | Record disturbance